## Slide 1
PROBLEM STATEMENT
1
5
SUPER 40 WINTER INTERNSHIP
IEM RESEARCH FOUNDATION
2
RESEARCH AND IDEATION
VALUE PROPOSITION
3
PROPOSED SOLUTION
4
POTENTIAL IMPACT
Project - Northern Lights
Godrej Genesis Building, 15th Floor, Unit No. 1502, Sector V, Block EP & GP, Salt Lake City, Kolkata – 700091, West Bengal, India.

## Slide 2
SUPER 40 WINTER INTERNSHIP
IEM RESEARCH FOUNDATION
Project - Northern Lights
Godrej Genesis Building, 15th Floor, Unit No. 1502, Sector V, Block EP & GP, Salt Lake City, Kolkata – 700091, West Bengal, India.
1. Problem Statement
Despite the widespread adoption of LED tube lights as energy efficient lighting solutions, many installations still suffer from reduced efficiency, premature failures, flickering, and increased operational heat. A key contributor is the choice of LED driver design specifically constant current (CC) versus constant voltage (CV) drivers. Limited research exists comparing their real-world performance in terms of power factor, thermal behaviour, lumen output, and long term reliability. This creates uncertainty for manufacturers, facility managers, and sustainability planners when selecting the most efficient and durable driver system for commercial lighting.

## Slide 3
SUPER 40 WINTER INTERNSHIP
IEM RESEARCH FOUNDATION
Project - Northern Lights
Godrej Genesis Building, 15th Floor, Unit No. 1502, Sector V, Block EP & GP, Salt Lake City, Kolkata – 700091, West Bengal, India.
2. Research and Ideation
The research aims to:
● Review literature on LED driver topologies, energy efficiency, and
lighting standards.
● Experimentally compare CC and CV drivers powering identical LED tube
assemblies.
● Measure and analyse:
Input power, output power, Power factor, Heat generation, thermal
dissipation, Lumen output, flicker index, driver efficiency, Lifespan
prediction and light quality.
● Explore additional smart driver concepts such as dimming control, and
thermal protection. The ideation phase will encourage low-cost,
scalable, and manufacturable driver improvements.

## Slide 4
SUPER 40 WINTER INTERNSHIP
IEM RESEARCH FOUNDATION
Project - Northern Lights
Godrej Genesis Building, 15th Floor, Unit No. 1502, Sector V, Block EP & GP, Salt Lake City, Kolkata – 700091, West Bengal, India.
3. Value Proposition
● For manufacturers: Data driven guidance to design higher efficiency
drivers.
● For organizations & buildings: Reduced electricity bills, longer lighting
lifespan, and lower maintenance.
● For sustainability initiatives: Lower carbon footprint through reduced
energy consumption and extended product life.
● For consumers: Better light quality, improved safety, and fewer
replacements.

## Slide 5
SUPER 40 WINTER INTERNSHIP
IEM RESEARCH FOUNDATION
Project - Northern Light s
Godrej Genesis Building, 15th Floor, Unit No. 1502, Sector V, Block EP & GP, Salt Lake City, Kolkata – 700091, West Bengal, India.
4. Proposed Solution
Develop and evaluate an optimized constant-current LED driver
architecture featuring:
● High power factor (>0.95) through active PFC circuitry.
● Low thermal resistance and improved heat sink design.
● Over voltage, over current, and thermal protection.
● Stable lumen output with reduced flicker.
● Optional integration with sensors or smart control systems for adaptive
lighting .The solution will be validated through laboratory testing,
simulation, and real world operational environments.
● Developing and marketing strategies.

## Slide 6
SUPER 40 WINTER INTERNSHIP
IEM RESEARCH FOUNDATION
Project - Northern Lights
Godrej Genesis Building, 15th Floor, Unit No. 1502, Sector V, Block EP & GP, Salt Lake City, Kolkata – 700091, West Bengal, India.
5. Potential Impact
● Up to 15–25% energy savings compared to conventional CV-driven LED
tubes.
● Longer lifespan, reducing e-waste and replacement costs.
● Enhanced lighting comfort for workplaces, hospitals, schools, and
homes.
● Adoption of sustainable lighting infrastructure aligned with green
building standards.
● Opportunity for innovation in smart, sensor-based, and IoT-enabled LED
lighting markets.

## Slide 7
SUPER 40 WINTER INTERNSHIP
IEM RESEARCH FOUNDATION
Project - Northern Lights
Godrej Genesis Building, 15th Floor, Unit No. 1502, Sector V, Block EP & GP, Salt Lake City, Kolkata – 700091, West Bengal, India.
Thank You